## Warnings Colors
Dashboard | WARNING TYPE & COLOR |  | DEVELOPER NOTES
Equipment
Spare | Inspection status:
Inspections |  | Ok
Rescue Events |  | Failed
CPR Certification |  | Overdue
Locations |  | Out of Service
|  | Upcoming
Account | Pads / Battery Expiration status:
Settings |  | Ok
Users |  | Expires in [x days]
Billing |  | Expired
System Log
AED Warranty Expiration status:
Developer Links: |  | Ok
Warning Colors |  | Warranty Not Active | An AED can still be legally used without a manufacturer’s warranty, although this is not ideal. That’s why we use an orange warning, not red.
User roles |  | Warranty Expires in [x days]
|  | Warranty Expired

## Dashboard
Dashboard
Dashboard
Equipment
Spare
Inspections
Rescue Events
CPR Certification
Locations
Account | Inspections overview
Settings | View | Location | Equipment | Brand | Model | SKU | Serial Number | Inspection Date |  | Inspection Status
Users |  | Location 1 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Date |  |  | Upcoming
Billing |  | Location 2 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Date |  |  | Upcoming
System Log |  | Location 3 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Date |  |  | Overdue
Expiring Equipment
Developer Links: | View | Location | Equipment | Brand | Model | SKU | Serial / Lot | Expiration Date |  | Service Status
Warning Colors |  | Location 1 name [floor + suite] | Pads | Brand | Model | SKU | Lot |  | Expired |  | Replacement Required
User roles |  | Location 2 name [floor + suite] | AED | Brand | Model | SKU | Serial Number |  | Warranty Expired |  | Rescue-Ready
Expiring CPR Classes
| View | Location | First Name | Last Name | Class type |  | Accreditation | Expiration Date |  |  | Status
|  | Location 1 name [floor + suite] | John | Doe | Class type 1 |  | AHA | Date |  |  | Expired
|  | Location 2 name [floor + suite] | John | Doe | Class type 2 |  | HSI | Date |  |  | Expired
[Developer notes]
Inspection Overview: Show the latest relevant information for each location.
Expiring Equipment: List only expired or expiring.
Expiring CPR Classes: List only expired.
All data shown here is dummy text and is not supposed to match the dummy information in other tabs.
[AED icon]
AEDs
Total AEDs: 8
Warranty Expired: 1
[Pads & Batteries icon]
PADs & Batteries
Pads Expired: 1
Batteries Expired: 0
[Inspections icon]
Inspections
Failed: 0
Overdue: 1
[CPR icon]
CPR Classes
Certifications: 4
Expired: 2

## Equipment
Equipment
Dashboard
Equipment
Spare |  | [Add search function]
Inspections
Rescue Events | View | Location | Equipment | Brand | Model | SKU | Serial / Lot | Expiration Date | Expiration Status |  | Service Status |  | Resources | Buy
CPR Certification |  | Location 1 name [floor 1 + suite] | AED | Brand | Model | SKU | Serial Number | Expiration Date |  | Ok |  | Rescue-Ready |  | 
Locations |  | Location 1 name [floor 1 + suite] | Adult Pads | Brand | Model | SKU | Lot | Expiration Date |  | Expires in [x days] |  |  |  | 
|  | Location 1 name [floor 1 + suite] | Adult Pads | Brand | Model | SKU | Lot | Expiration Date |  | Ok |  |  |  | 
|  | Location 1 name [floor 1 + suite] | Pediatric Pads | Brand | Model | SKU | Lot | Expiration Date |  | Ok |  |  |  | 
Account |  | Location 1 name [floor 1 + suite] | Battery | Brand | Model | SKU | Lot | Expiration Date |  | Ok |  |  |  | 
Settings
Users |  | Location 1 name [floor 2 + suite] | AED | Brand | Model | SKU | Serial Number | Expiration Date |  | Warranty Expired |  | Rescue-Ready |  | 
Billing |  | Location 1 name [floor 2 + suite] | Adult Pads | Brand | Model | SKU | Lot | Expiration Date |  | Ok |  |  |  | 
System Log |  | Location 1 name [floor 2 + suite] | Pediatric Pads | Brand | Model | SKU | Lot | Expiration Date |  | Ok |  |  |  | 
|  | Location 1 name [floor 2 + suite] | Battery | Brand | Model | SKU | Lot | Expiration Date |  | Ok |  |  |  | 
Developer Links: |  | Location 2 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Expiration Date |  | Ok |  | Replacement Required |  | 
Warning Colors |  | Location 2 name [floor + suite] | Adult Pads | Brand | Model | SKU | Lot | Expiration Date |  | Expired |  |  |  | 
User roles |  | Location 2 name [floor + suite] | Battery | Brand | Model | SKU | Lot | Expiration Date |  | Ok |  |  |  | 
|  | Location 3 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Expiration Date |  | Ok |  | Out of Service |  | 
|  | Location 3 name [floor + suite] | Adult Pads | Brand | Model | SKU | Lot | Expiration Date |  | Ok |  |  |  | 
|  | Location 3 name [floor + suite] | Battery | Brand | Model | SKU | Lot | Expiration Date |  | Ok |  |  |  | 
[Developer notes]
This screen shows items that are Active. Not Spare or Archived items.
Service Status logic: applies to whole AED, and is calculated from Inspection Status and Expiration Status. Having a combined column avoids contradicting statuses.
The most serious warning takes priority; otherwise, the AED is shown as Rescue-Ready.
Failed inspection, overdue inspection, expired components, and warranty warnings are underlying conditions.
Service Status is a read-only, calculated display. It selects the most urgent applicable message but does not create or modify an equipment status.
View: will open corresponding form.
Resources: Link to Manuals/Guides.
Buy: link to product page. If not available send to category page.
First icon is linked to AED Panel screen as example for an entry.
Content of the screen is dummy text to show different possible data.
Archived equipment is stored under a shared Archived inventory category at database level. Each archived screen queries that same dataset but presents a context-specific view.
Equipment field: Adult/Pediatric classification should be determined from the selected Model/SKU. A mapping list can be provided if needed.
+ Add AED
Archived
Spare

## Equipment - Spare
Spare Equipment
Dashboard
Equipment
Spare |  | [Add search function]
Inspections
Rescue Events | View | Location | Equipment | Brand | Model | SKU | Serial / Lot | Expiration Date | Expiration Status |  | Resources
CPR Certification |  | - | AED | Brand | Model | SKU | Serial Number | Expiration Date |  | Warranty Not Active | 
Locations |  | - | Adult Pads | Brand | Model | SKU | Lot | Expiration Date |  | Ok | 
|  | - | Battery | Brand | Model | SKU | Lot | Expiration Date |  | Ok | 
Account |  | - | Adult Pads | Brand | Model | SKU | Lot | Expiration Date |  | Expires in [x days] | 
Settings |  | - | Pediatric Pads | Brand | Model | SKU | Lot | Expiration Date |  | Ok | 
Users
Billing |  | - | Adult Pads | Brand | Model | SKU | Lot | Expiration Date |  | Expired | 
System Log |  | - | Battery | Brand | Model | SKU | Lot | Expiration Date |  | Ok | 
[Developer notes]
Developer Links: | The Spare section is for equipment not yet assigned to a Location, such as newly purchased or backup equipment.
Warning Colors | When a portal user buys from us, system will show the record of the newly acquired AED, as Spare equipment, until a location is assigned to it.
User roles | Pads/Batteries don't get a location assigned directly, they inherit it through the AED they are assigned to.
Pads and Batteries need to be assigned to an AED in order to become active and be moved to the Equipment screen. They can’t manually be set to active.
Assigning a location to a spare AED causes its installed/bundled pads and battery to inherit that location.
Assigning a location to an AED moves it (and all its components) to Equipment together and becomes Active.
Users can also manually add spare Pads and Batteries without adding a location.
+ Add AED
 Equipment
+ Add Pads
+ Add Batteries

## Equipment - Archived
Equipment
Dashboard
Equipment
Spare |  | [Add search function]
Inspections
Rescue Events | View | Location | Equipment | Brand | Model | SKU | Serial / Lot | Expiration Date | Archived Date
CPR Certification |  | Location 1 name [floor + suite] | Adult Pads | Brand | Model | SKU | Lot | Expiration Date | Date
Locations |  | Location 1 name [floor + suite] | Pediatric Pads | Brand | Model | SKU | Lot | Expiration Date | Date
|  | Location 1 name [floor + suite] | Adult Pads | Brand | Model | SKU | Lot | Expiration Date | Date
|  | Location 1 name [floor + suite] | Pediatric Pads | Brand | Model | SKU | Lot | Expiration Date | Date
Account |  | Location 1 name [floor + suite] | Adult Pads | Brand | Model | SKU | Lot | Expiration Date | Date
Settings |  | Location 1 name [floor + suite] | Pediatric Pads | Brand | Model | SKU | Lot | Expiration Date | Date
Users |  | Location 1 name [floor + suite] | Battery | Brand | Model | SKU | Lot | Expiration Date | Date
Billing
System Log |  | Location 2 name [floor + suite] | Adult Pads | Brand | Model | SKU | Lot | Expiration Date | Date
|  | Location 2 name [floor + suite] | Pediatric Pads | Brand | Model | SKU | Lot | Expiration Date | Date
|  | Location 2 name [floor + suite] | Battery | Brand | Model | SKU | Lot | Expiration Date | Date
Developer Links:
Warning Colors |  | Location 3 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Expiration Date | Date
User roles |  | Location 3 name [floor + suite] | Adult Pads | Brand | Model | SKU | Lot | Expiration Date | Date
|  | Location 3 name [floor + suite] | Battery | Brand | Model | SKU | Lot | Expiration Date | Date
[Developer notes]
View icon: would open each form containing the full record.
+ Add AED
Archived
Spare

## AED Panel
AED Information
Dashboard
Equipment
Spare | AED Information
Inspections
Rescue Events | Location [dropdown] | AED Placement [i.e. Lobby]
CPR Certification | [If not location yet added. Add legend to tell user to add location]
Locations
| AED Brand [dropdown]* | AED Model [dropdown based on Brand selection]*
| [System-populated if possible] | [System-populated if possible]
Account
Settings | SKU | Serial Number*
Users | [System-populated if possible] | [System-populated if possible]
Billing
System Log | Purchase Date* | Registered with Manufacturer for Warranty*
| [System-populated if possible] | [yes/no checkmark]
Developer Links: | Warranty Expiration Date* | Warranty Status [read-only display field]
Warning Colors |  | Warranty Not Active ¦ Ok ¦ Warranty Expires in [x days] ¦ Warranty Expired [auto calculated from Warranty expiration date]
User roles
| Notes | Inventory Status
Active ¦ Spare ¦ Archived
[Developer notes]
AED serial numbers are unique.
Logic for associated records:
Pads and batteries inherit the AED’s Inventory Status, but the system should display a pop-up notice when this occurs.
| Save ¦ Cancel ¦ Delete buttons | If the action is deletion, display a strong warning and consider using soft deletion.
Rescue Events are unaffected. They remain available on the Rescue Events screen unless archived or deleted from there.
Inspections are unaffected. They remain available on the Inspections screen unless archived or deleted from there.
System Log records are unaffected. They remain available on the System Log screen and cannot be edited or deleted by the user.
System Log
AED
Pads
Batteries
Inspections
Rescue Events
 Equipment

## AED Pads
Dashboard
Equipment
Spare | AED Pads
Inspections
Rescue Events | View | Brand | Model | SKU | Lot | Expiration Date | Expiration Status
CPR Certification |  | Brand | Model | SKU | Lot | Expiration Date | Ok
Locations |  | Brand | Model | SKU | Lot | Expiration Date | Ok ¦ Expires in [x days]
|  | Brand | Model | SKU | Lot | Expiration Date | Expired
Account
Settings | [Developer notes]
Users | Expiration Status: Ok ¦ Expires in [x days] ¦ Expired [auto calculated from expiration date]
Billing | An AED can have multiple pads and batteries assigned to it.
System Log
Developer Links:
Warning Colors
User roles
AED
Pads
Batteries
Inspections
Archived
System Log
Rescue Events
 Equipment
+ Add Padd

## AED Pads form
Dashboard
Equipment
Spare | Pad information
Inspections
Rescue Events | Location | Brand [dropdown]*
CPR Certification | [auto populated from AED location] | [System-populated if possible]
Locations
| Model [dropdown based on Brand's selection]* | SKU
| [System-populated if possible] | [System-populated if possible]
Account
Settings | Lot number | Expiration Date*
Users | [System-populated if possible] | [System-populated if possible]
Billing
System Log | Expiration Status [read-only display field] | Inventory Status
| Ok ¦ Expires in [x days] ¦ Expired [auto calculated from expiration date] | Active ¦ Spare ¦ Archived
Developer Links: | Notes
Warning Colors |  | [Developer notes]
User roles |  | User can manually enter the fields or select a pad from Spare items.
Select from Spare button: Shows available pads from Spare for the current Account.
Pads and batteries assigned to an AED inherit the AED's Inventory Status.
| Save ¦ Cancel ¦ Delete buttons | Pads/Batteries don't get a location assigned directly, they inherit it through the AED they are assigned to.
A pad or battery cannot have Active Inventory Status unless it is assigned to an Active AED.
Pads and batteries cannot be manually set to Active. They must be activated by assigning them
through the corresponding Pads or Battery section of the AED Panel.
The Archived button should open the context-specific archived-history screen.
Lot numbers are not unique.
AED
Pads
Batteries
Inspections
Archived
System Log
Rescue Events
 Equipment
Select from Spare

## AED Batteries
Dashboard
Equipment
Spare | AED Batteries
Inspections
Rescue Events | View | Brand | Model | SKU | Lot | Expiration Date | Expiration Status
CPR Certification |  | Brand | Model | SKU | Lot | Expiration Date | Ok
Locations |  | Brand | Model | SKU | Lot | Expiration Date | Ok ¦ Expires in [x days]
|  | Brand | Model | SKU | Lot | Expiration Date | Expired
Account
Settings | [Developer notes]
Users | Expiration Status: Ok ¦ Expires in [x days] ¦ Expired [auto calculated from expiration date]
Billing | An AED can have multiple pads and batteries assigned to it.
System Log
Developer Links:
Warning Colors
User roles
AED
Pads
Batteries
Inspections
Archived
System Log
Rescue Events
 Equipment
+ Add Battery

## AED Battery form
Dashboard
Equipment
Spare | Battery information
Inspections
Rescue Events | Location | Brand [dropdown]*
CPR Certification | [auto populated from AED location] | [System-populated if possible]
Locations
| Model [dropdown based on Brand's selection]* | SKU
| [System-populated if possible] | [System-populated if possible]
Account
Settings | Lot number | Purchase Date*
Users | [System-populated if possible] | [System-populated if possible]
Billing
System Log | Expiration Date* | Expiration Status [read-only display field]
| [System-populated if possible] | Ok ¦ Expires in [x days] ¦ Expired [auto calculated from expiration date]
Developer Links: | Inventory Status
Warning Colors | Active ¦ Spare ¦ Archived | [Developer notes]
User roles
| Notes | User can manually enter the fields or select a battery from Spare items.
Select from Spare button: Shows available batteries from Spare for the current Account.
Pads and batteries assigned to an AED inherit the AED's Inventory Status.
Pads/Batteries don't get a location assigned directly, they inherit it through the AED they are assigned to.
A pad or battery cannot have Active Inventory Status unless it is assigned to an Active AED.
| Save ¦ Cancel ¦ Delete buttons | Pads and batteries cannot be manually set to Active. They must be activated by assigning them
through the corresponding Pads or Battery section of the AED Panel.
The Archived button should open the context-specific archived-history screen.
Lot numbers are not unique.
Archived
AED
Pads
Batteries
Inspections
System Log
Rescue Events
 Equipment
Select from Spare

## AED Inspections
Dashboard
Equipment
Spare |  | [Add search function]
Inspections
Rescue Events | AED Inspections
CPR Certification
Locations | View | Location | Equipment | Inspection Date | Inspection Status |  | Download
|  | Location 1 name [floor + suite] | AED - xxx1234 | Date |  | Overdue | 
|  | Location 1 name [floor + suite] | AED - xxx1234 | Date |  | Ok | 
Account |  | Location 1 name [floor + suite] | AED - xxx1234 | Date |  | Failed | 
Settings |  | Location 1 name [floor + suite] | AED - xxx1234 | Date |  | Ok | 
Users
Billing
System Log | [Developer notes]
Data collected from inspections must be a snapshot of AED at such time including Pads and Battery info. Must not be updated when Pads/Battery is replaced.
AED Brand, Model and Serial number columns are hidden from view to avoid redundancy since all inspections shown here will be for the same AED device.
Developer Links: | Equipment column for this screen only: Show AED - xx followed by the last 4 digits of the serial number, just to reference the AED in question.
Warning Colors
User roles
Archived
+ Add Inspection
AED
Pads
Batteries
Inspections
System Log
Rescue Events
 Equipment

## AED Inspections Archived
Dashboard
Equipment
Spare |  | [Add search function]
Inspections
Rescue Events | Archived AED Inspections
CPR Certification
Locations | View | Location | Equipment | Inspection Date | Inspection Status |  | Download
|  | Location 1 name [floor + suite] | AED - xxx1234 | Date |  | Overdue | 
|  | Location 1 name [floor + suite] | AED - xxx1234 | Date |  | Ok | 
Account |  | Location 1 name [floor + suite] | AED - xxx1234 | Date |  | Failed | 
Settings |  | Location 1 name [floor + suite] | AED - xxx1234 | Date |  | Ok | 
Users
Billing
System Log | [Developer notes]
Data collected from inspections must be a snapshot of AED at such time including Pads and Battery info. Must not be updated when Pads/Battery is replaced.
AED Brand, Model and Serial number columns are hidden from view to avoid redundancy since all inspections shown here will be for the same AED device.
Developer Links: | Equipment column for this screen only: Show AED - xx followed by the last 4 digits of the serial number, just to reference the AED in question.
Warning Colors
User roles
Back
AED
Pads
Battery
Inspections
System Log
Rescue Events
 Equipment

## AED Inspection Form
Dashboard
Equipment
Spare | AED Inspections
Inspections
Rescue Events | Register Inspection
CPR Certification
Locations | Inspector | Location
| [auto populated with name of login user] | [auto populated from AED location]
Account | Inspection date* | AED Serial Number
Settings | [default current date] | [auto populated from AED]
Users
Billing | Pads:
System Log | [auto populated from AED Pads. List all pads that have been assigned to that AED]
Batteries:
Developer Links: | [auto populated from AED Batteries. List all batteries that have been assigned to that AED]
Warning Colors
User roles | [Developer notes]
Display a warning if no Pads or Batteries have been assigned to this AED
| Set AED Out of Service (Override questionnaire) | Bulk-approve all: Overrides questionnaire and automatically applies the passing response to each question.
| [Checkbox] notes and signature are required | [Checkbox] notes and signature are required
Is the AED in its assigned location?*
| Yes / No [Checkbox] | [Pass / Failed system indicator] | Yes = Pass
| Notes |  | No = Fail
Is it visible and accessible?*
| Yes / No [Checkbox] | [Pass / Failed system indicator] | Yes = Pass
| Notes |  | No = Fail
Does the status indicator show "Ready", "Green Check Mark”, or ”Blinking Green Light”?*
| Yes / No [Checkbox] | [Pass / Failed system indicator] | Yes = Pass
| Notes |  | No = Fail
Are there any warning lights or audible alarms?*
| Yes / No [Checkbox] | [Pass / Failed system indicator] | Yes = Fail
| Notes |  | No = Pass
Has the AED been used since the last inspection?*
| Yes / No [Checkbox] | [Pass / Failed system indicator] | Conditional logic:
| Notes |  | Yes = add a new question
No = Pass
Have the Pads been replaced? *required if previous answer is Yes.
| Yes / No [Checkbox] | [Pass / Failed system indicator] | Conditional logic dependent
| Notes |  | Yes = Pass
No = Fail
Are the adult electrode pads installed and within their expiration date?*
| Yes / No [Checkbox] | [Pass / Failed system indicator] | Yes = Pass
| Notes |  | No = Fail
If pediatric electrode pads are present, are they within their expiration date?*
| Yes / No / Not applicable [Checkbox] | [Pass / Failed system indicator] | Yes = Pass
| Notes |  | No = Fail
Not applicable = Pass
Is the installed battery within its service/expiration date?*
| Yes / No [Checkbox] | [Pass / Failed system indicator] | Yes = Pass
| Notes |  | No = Fail
Is the AED free of damage?*
| Yes / No [Checkbox] | [Pass / Failed system indicator] | Yes = Pass
| Notes |  | No = Fail
If there's an AED cabinet, is it free of damage?*
| Yes / No / Not applicable [Checkbox] | [Pass / Failed system indicator] | Yes = Pass
| Notes |  | No = Fail
Not applicable = Pass
Is the Rescue Kit complete?*
| Yes / No [Checkbox] | [Pass / Failed system indicator] | Yes = Pass
| Notes |  | No = Fail
Is the Bleed Kit complete*
| Yes / No [Checkbox] | [Pass / Failed system indicator] | Yes = Pass
| Notes |  | No = Fail
Is the AED Sign Visible and Decals indicating AED is Present?*
| Yes / No [Checkbox] | [Pass / Failed system indicator] | Yes = Pass
| Notes |  | No = Fail
Is the AED rescue-ready today?*
| Yes / No [Checkbox]* | [Pass / Failed system indicator] | Yes = Pass
| Notes |  | No = Fail
Additional Comments
Notes
| Upload a photo of the equipment* | Sign Inspection*
| [Upload] | [adds a signature pop-up]
Save ¦ Cancel ¦ Delete buttons
[Must generate a PDF that will be available for download in the Inspection page ]
Back
AED
Pads
Batteries
Inspections
System Log
Rescue Events
ß Equipment

## AED Rescue Events
Dashboard
Equipment
Spare |  | [Add search function]
Inspections
Rescue Events | Rescue Events
,
Locations |  | Location | Equipment | Event Date | Download
|  | Location 1 name [floor + suite] | AED - xxx1234 | Date | 
|  | Location 1 name [floor + suite] | AED - xxx1234 | Date | 
Account |  | Location 1 name [floor + suite] | AED - xxx1234 | Date | 
Settings |  | Location 1 name [floor + suite] | AED - xxx1234 | Date | 
Users
Billing
System Log | [Developer notes]
Data collected from Rescue Events will be uploaded here as PDF. Location info and AED serial number must be static snapshot.
AED Brand, Model and Serial number columns are hidden from view to avoid redundancy, since all inspections shown here will be for the same AED device.
Developer Links: | Equipment column for this screen only: Show "AED - xx" follow by the last 4 digits of the serial number. It will be redudant but less so than having 3 columns.
Warning Colors
User roles
+ Upload
AED
Pads
Batteries
Inspections
System Log
Rescue Events
 Equipment

## Rescue Events All
Dashboard | Rescue Events
Equipment
Spare |  | [Add search function]
Inspections
Rescue Events |  | Location | Equipment | Brand | Model | SKU | Serial Number | Event Date | Download
CPR Certification |  | Location 1 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Date | 
Locations |  | Location 1 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Date | 
|  | Location 1 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Date | 
|  | Location 1 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Date | 
Account
Settings
Users | [Developer notes]
Billing | This screen shows Rescue Events entries from each AED Panel > Rescue Events tab.
System Log | The user will upload the PDF document of the rescue event from the AED panel > Rescue event tab.
The purpose is to have easy access and prevent data from being deleted if AED is deleted.
Developer Links:
Warning Colors
User roles

## Inspections All
Inspections
Dashboard
Equipment
Spare
Inspections |  | [Add search function]
Rescue Events
CPR Certification | View | Location | Equipment | Brand | Model | SKU | Serial Number | Inspection Date |  | Inspection Status | Download
Locations |  | Location 1 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Date |  | Upcoming | -
|  | Location 2 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Date |  | Upcoming | -
|  | Location 1 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Date |  | Overdue | -
Account |  | Location 2 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Date |  | Ok | 
Settings |  | Location 1 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Date |  | Failed | 
Users |  | Location 2 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Date |  | Ok | 
Billing |  | Location 1 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Date |  | Ok | 
System Log |  | Location 2 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Date |  | Out of Service | 
|  | Location 1 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Date |  | Ok | 
|  | Location 2 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Date |  | Ok | 
Developer Links: |  | Location 1 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Date |  | Ok | 
Warning Colors
User roles | [Developer notes]
Alert Settings: Add options to choose alert preferences: Monthly, quarterly biannually, or annually
Inspection reports must be downloadable as PDFs.
Alert Settings
Archived

## Inspections All - Archived
Dashboard | Archived Inspections
Equipment
Spare |  | [Add search function]
Inspections
Rescue Events | View | Location | Equipment | Brand | Model | SKU | Serial Number | Inspection Date |  | Inspection Status | Download
CPR Certification |  | Location 1 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Date |  | Ok | 
Locations |  | Location 1 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Date |  | Ok | 
|  | Location 1 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Date |  | Overdue | -
|  | Location 2 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Date |  | Ok | 
Account |  | Location 2 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Date |  | Failed | 
Settings |  | Location 2 name [floor + suite] | AED | Brand | Model | SKU | Serial Number | Date |  | Ok | 
Users
Billing
System Log | [Developer notes]
Inspection reports must be downloadable as PDFs.
Developer Links:
Warning Colors
User roles
Back

## Locations
Dashboard | Locations
Equipment
Spare |  | [Add search function]
Inspections
Rescue Events | View | Location | Phone number | Street Address 1 | Suite / Unit / Floor | City | State | Contact
CPR Certification |  | Location 1 name [floor + suite] | Phone number | Street Address | Suite / Unit / Floor | City | State | Contact [Name + Last Name]
Locations |  | Location 2 name [floor + suite] | Phone number | Street Address | Suite / Unit / Floor | City | State | Contact [Name + Last Name]
|  | Location 3 name [floor + suite] | Phone number | Street Address | Suite / Unit / Floor | City | State | Contact [Name + Last Name]
Account
Settings | [Developer notes]
Users | Location name should append floor and suite fields to identify AED betters.
Billing
System Log
Developer Links:
Warning Colors
User roles
+ Add Location

## Location form
Dashboard | Location Information
Equipment
Spare | Location Name*
Inspections |  | [Same as organization address checkmark option to auto complete the fields]
Rescue Events
CPR Certification | Phone number* | Street Address*
Locations
| Suite / Unit / Floor | City*
Account
Settings
Users | State* | ZIP Code*
Billing
System Log
| Location Contact | [same as user info checkmark option]
Developer Links:
Warning Colors | First Name* | Last Name*
User roles
| Email Address* | Phone number * [Same as Location's phone checkmark option to auto complete the fields]
| Save ¦ Cancel ¦ Delete buttons | [Developer notes]
Deleting a Location does not delete its associated AEDs, pads, or batteries.
If location is being used by the system, in a required filed, it should block deletion
and inform user that dependencies need to be assigned to another location before location can be deleted.
Back

## CPR Certification
Dashboard
Equipment |  | [Add search function]
Spare
Inspections | View | Location | First Name | Last Name | Class type | Accreditation | Expiration Date |  | Status
Rescue Events |  | Location 1 name [floor + suite] | John | Doe | CPR/AED/FA | AHA | Date |  | Ok
CPR Certification |  | Location 1 name [floor + suite] | John | Doe | CPR/AED | HSI | Date |  | Ok
Locations |  | Location 1 name [floor + suite] | John | Doe | First Aid | American Red Cross | Date |  | Expired
|  | Location 1 name [floor + suite] | Anna | Miller | BBP | NSC | Date |  | Ok
|  | Location 1 name [floor + suite] | Anna | Miller | BLS/FA | Other | Date |  | Expired
Account
Settings |  | Location 2 name [floor + suite] | Richard | Jones | BLS | AHA | Date |  | Ok
Users |  | Location 2 name [floor + suite] | Michael | Davis | ACLS | HSI | Date |  | Ok
Billing
System Log | [Developer notes]
Request a Class button: Email popup to send us a quick email
Developer Links:
Warning Colors
User roles
+ Add CPR Certification
Request a Class

## CPR Cert Form
CPR Class Certification
Dashboard
Equipment | Location (dropdown)*
Spare
Inspections
Rescue Events | Select Class type (dropdown)* | Accreditation type*
CPR Certification
Locations
| Participant First Name* | Participant Last Name*
Account
Settings | Participant Email* | Participant Phone number*
Users
Billing
System Log | Class Date* | Expiration Date
[All Classes have 2 years validity, auto calculate it]
Developer Links:
Warning Colors | Save ¦ Cancel ¦ Delete buttons | [Developer notes]
User roles |  | See Class type and Accreditation type listed in the drop down field.
Back

## Account Settings
Dashboard
Equipment
Spare
Inspections |  | User Information
Rescue Events
CPR Certification |  | First Name* | Last Name*
Locations
|  | Email Address* | Phone number*
Account
Settings
Users |  | Save ¦ Cancel buttons
Billing
System Log |  | Security
|  | Current Password | New Password
Developer Links:
Warning Colors
User roles |  | Confirm Password
Save ¦ Cancel buttons
[Developer notes]
Password requirements Minimum 8 characters or longer One or more uppercase and lowercase letter(s) At least one number At least one special character
User
Organization

## Account - Organization
Dashboard
Equipment
Spare
Inspections | Organization Information | [All fields are optional]
Rescue Events
CPR Certification | Organization Name | Phone number
Locations
| Street Address 1 | Street Address 2
Account
Settings
Users | City | State
Billing
System Log
| ZIP Code | Website
Developer Links:
Warning Colors | Save ¦ Cancel buttons
User roles
User
Organization

## User Roles
Dashboard |  | Sys Admin | Reseller* | Admin (Account owner) | Admin | Staff | Inspector | Customer (No Portal Access)
Equipment | Create accounts | X
Spare | Add / Delete users | X |  | X | Yes, except account owner
Inspections | Add locations | X | X | X | X | X
Rescue Events | AEDs - Add / Edit / Delete / Archive | X | X | X | X | X | X
CPR Certification | Pads - Add / Edit / Delete / Archive | X | X | X | X | X | X
Locations | Batteries - Add / Edit / Delete / Archive | X | X | X | X | X | X
| CPR Classes - Add / Edit / Delete / Archive | X | X | X | X | X
| Inspections - Add / Edit / Delete / Archive | X | X | X | X | X | X
Account | Receives AED, Pads & Batteries expiration reminders 90, 60, 30 and 7 days in advance |  | X | X | X | X | X | X
Settings | Receives CPR Classes expiration reminders 90, 60, 30 and 7 days in advance |  | X | X | X | X | X
Users | Receives Inspection reminders as set in Inspection tab preferences by user |  | X | X | X | X | X
Billing | Edit Inspection questions | X
System Log | Edit CPR Classes type | X
Developer Links: | Reseller*: Only reseller account receives email notifications for the accounts they manage. They have only 1 portal access.
Warning Colors | Resellers should be able to add organizations that have locations, etc., but those will not be granted individual access.
User roles